## ST 1,2 RES BOQ
LIMESTONE CR ROAD YEPPOON
STAGE 1 & 2 - OP WORKS
| BILL OF QUANTITIES |  | DATE |  | 2026-07-01 | Rev A
|  | Item | Qty. | Unit | Rate | Total
6 |  | SEWER RETICULATION |  |  | 0
| 6.1 | Supply, Excavate, bed, lay, joint & backfill incl compaction testing & tape
| 6.1.1 | 150mm sewer up to 1.50m deep | 667 | m |  | 0
| 6.1.2 | 150mm sewer 1.50m to 3.0m deep | 1410 | m |  | 0
| 6.1.3 | 150mm sewer over 3.0m deep | 27 | m |  | 0
| 6.1.4 | 300mm sewer 1.50m to 3.0m deep | 591 | m |  | 0
| 6.1.5 | 300mm sewer over 3.0m deep | 30 | m |  | 0
| 6.1.6 | Provisional Item - Allowance for Excavation and Installation in Water Charged Ground |  | m |  | 0
| 6.2 | Construct Manholes
| 6.2.1 | Up to 1.5m Deep | 13 | each |  | 0
| 6.2.2 | 1.5m to 3m Deep | 34 | each |  | 0
| 6.2.3 | Over 3m Deep | 4 | each |  | 0
| 6.3 | Construct Lampholes
| 6.3.1 | Construct Lampholes to 1.5m | 7 | each |  | 0
| 6.3.2 | Construct Lampholes 1.5 to 3m | 3 | each |  | 0
| 6.4 | House Junctions - into line |  | each |  | 0
| 6.4.1 | 100mm dia property sewer junction - Type B | 26 | each |  | 0
| 6.4.2 | 100mm dia property sewer junction - Type C1 | 21 | each |  | 0
| 6.4.3 | 100mm dia property sewer junction - Type C2 | 27 | each |  | 0
| 6.4.4 | 100mm dia property sewer junction - Type D | 12 | each |  | 0
| 6.5 | Bends
| 6.5.1 | 150mm 6° Bends | 12 | each |  | 0
| 6.5.2 | 150mm 11¼ ° Bends | 2 | each |  | 0
| 6.5.3 | 150mm 22½ ° Bends | 1 | each |  | 0
| 6.5.4 | 150mm 45 ° Bends | 2 | each |  | 0
| 6.5.5 | Connect to existing Manhole by Livingstone Shire | 2 | each |  | 0
| 6.6 | Commissioning sewer main
| 6.6.1 | Vaccum testing manholes | 1 | item |  | 0
| 6.6.2 | Pressure testing of sewer | 1 | item |  | 0
| 6.6.3 | CCTV inspection & reporting | 1 | item |  | 0

## ST 3,4,5,6 RES BOQ
LIMESTONE CR ROAD YEPPOON
Stage 3, 4, 5 & 6 - OP WORKS
| BILL OF QUANTITIES |  | DATE |  | 2026-07-01 | REV A
|  | Item | Qty. | Unit | Rate | Total
6 |  | SEWER RETICULATION |  |  | 0
| 6.1 | Supply, Excavate, bed, lay, joint & backfill incl compaction testing & tape
| 6.1.1 | 150mm sewer up to 1.50m deep | 1011 | m |  | 0
| 6.1.2 | 150mm sewer 1.50m to 3.0m deep | 554 | m |  | 0
| 6.1.3 | 150mm sewer over 3.0m deep | 165 | m |  | 0
| 6.1.4 | Provisional Item - Allowance for Excavation and Installation in Water Charged Ground |  | m |  | 0
| 6.2 | Construct Manholes
| 6.2.1 | Up to 1.5m Deep | 18 | each |  | 0
| 6.2.2 | 1.5m to 3m Deep | 12 | each |  | 0
| 6.2.3 | Over 3m Deep | 3 | each |  | 0
| 6.3 | Construct Lampholes
| 6.3.1 | Construct Lampholes to 1.5m | 10 | each |  | 0
| 6.3.2 | Construct Lampholes 1.5 to 3m | 1 | each |  | 0
| 6.4 | House Junctions (including manhole inlets) |  | each |  | 0
| 6.4.1 | 100mm dia property sewer junction - Type B | 27 | each |  | 0
| 6.4.2 | 100mm dia property sewer junction - Type C1 | 27 | each |  | 0
| 6.4.3 | 100mm dia property sewer junction - Type C2 | 11 | each |  | 0
| 6.5 | Bends
| 6.5.1 | 150mm 6° Bends | 18 | each |  | 0
| 6.5.2 | 150mm 11¼ ° Bends | 5 | each |  | 0
| 6.5.3 | 150mm 22½ ° Bends | 3 | each |  | 0
| 6.5.4 | 150mm 33¾° Bends | 2 | each |  | 0
| 6.5.5 | 150mm 45 ° Bends | 1 | each |  | 0
| 6.5.4 | Connect to existing Manhole by Livingstone Shire | 2 | each |  | 0
| 6.6 | Commissioning sewer main
| 6.6.1 | Vaccum testing manholes | 1 | each |  | 0
| 6.6.2 | Pressure testing of sewer | 1 | item |  | 0
| 6.6.3 | CCTV inspection & reporting | 1 | item |  | 0

## stormwater pipe calcs (hidden)
Stage 1 & 2 | [33 empty] | Total
Road Drainage
900 | 13.554 | 13.554 | 40.08 | 40.08 | 5.937 | 4.69 | [27 empty] | 117.895
825 | 37.574 | [32 empty] | 37.574
750 | 9.183 | 10.71 | [31 empty] | 19.893
675 | 34.388 | [32 empty] | 34.388
600 | 65.484 | 16.377 | 29.983 | 27.612 | 50.76 | 24.759 | 19.669 | 20.383 | 15.699 | 13.27 | 24.975 | [22 empty] | 308.971
525 | 50.328 | 47.873 | 8.466 | 4.806 | 41.83 | 9.975 | 14.842 | 45.832 | 8.011 | 38.949 | 40.508 | [22 empty] | 311.42
450 | 36.277 | 13.487 | 41.977 | 43.163 | 28.615 | [28 empty] | 163.519
375 | 13.692 | 11.139 | 11.359 | 10.007 | 34.558 | 9.333 | 28.374 | 14.341 | 12.225 | 9.687 | 8.011 | 28.182 | 22.651 | 22.517 | 9.599 | 9.603 | 31.124 | 12.83 | 10.631 | 9.791 | 9.039 | 9.935 | 20.635 | 28.166 | 18.985 | 12.133 | 40.672 | 40.82 | 11.606 | 38.363 | 8.031 | 13.714 | 12.742 | 584.495
IAD
300 | 13.043 | 34.028 | 22.357 | 56.007 | 35.214 | 25 | 25.01 | 11.938 | 27.773 | [24 empty] | 250.37
225 | 9.897 | 8.824 | 43.426 | 4.072 | 27 | 6.659 | 7.377 | 26.976 | [25 empty] | 134.231
200 | 27.146 | 25.327 | 35.351 | 35.045 | [29 empty] | 122.869
150 | 23.144 | 46.863 | 31.318 | 25.005 | [29 empty] | 126.33
100 | 31.156 | [32 empty] | 31.156
Stage 3, 4, 5, 6
Road Drainage
900
825
750 | 88.332 | 50.214 | 13.211 | 30.077 | 14.417 | 14.417 | 41.867 | [26 empty] | 252.535
675
600 | 9.768 | 9.768 | 10.35 | 10.35 | 8.759 | 8.759 | 16.516 | 28.535 | 28.118 | 41.502 | 7.757 | 7.757 | 8.01 | 8.01 | [19 empty] | 203.959
525 | 44.729 | [32 empty] | 44.729
450 | 8.064 | 37.596 | 10.604 | 8.142 | 41.323 | 12.203 | 12.203 | 12.203 | 7.06 | 7.06 | 7.06 | 4.698 | 4.698 | 4.698 | [19 empty] | 177.612
375 | 62.41 | 10.225 | 7.962 | 45.098 | 19.937 | 8.137 | 12.88 | 8.032 | 21.536 | 44.601 | 28.324 | 8.115 | 9.603 | 56.758 | 50.26 | 7.658 | 15.921 | 39.47 | 8.871 | [14 empty] | 465.798
IAD
300 | 16.448 | 3.909 | 16.604 | 18.198 | [29 empty] | 55.159
225 | 6.513 | 39.913 | 22.452 | 18.342 | 20.518 | 26.607 | 20.88 | 17.294 | 7.056 | 34.636 | 9.031 | 3.226 | 18.679 | 21.242 | 24.117 | 25.471 | 9.388 | [16 empty] | 325.365
200 | 20.307 | 20.177 | [31 empty] | 40.484
150 | 20.257 | 25.069 | [31 empty] | 45.326
Trunk Road
750 | 17.342 | [32 empty] | 17.342
675 | 41.931 | 16.337 | [31 empty] | 58.268
375 | 23.687 | 11.131 | [31 empty] | 34.818