## Trunk Rd C
LIMESTONE CR ROAD YEPPOON
Trunk Road Section C - OP WORKS
| BILL OF QUANTITIES |  | DATE |  | 2026-07-01 | REV A
|  | Item | Qty. | Unit | Rate | Total
5 |  | WATER RETICULATION - POTABLE |  |  | 0
| 5.1 | Remove Temporary Ducksfoot Hydrant and Connect Main | 2 | Item
| 5.2 | Supply, excavate, bed, lay, joint and backfill pipes (incl tape)
| 5.2.1 | 250mm Dia. PVC PN16 | 471 | m |  | 0
| 5.3 | Supply and Install Hydrants - Potable per CMDG-W060
| 5.3.1 | To Suit 250mm Dia. | 4 | each |  | 0
| 5.3.2 | Temporary Ducksfoot Hydrant to suit 250mm | 1 | each |  | 0
| 5.4 | Supply and Install Stop Valves - Potable per CMDG-W060
| 5.4.1 | To Suit 250mm Dia. | 3 | each |  | 0
| 5.4.2 | Scour Valve to Suit 250mm Dia per CMDG-W-080 | 1 | each |  | 0
| 5.5 | Supply and Install Horizontal Bends including thrustblocks
| 5.5.1 | 250mm 6° Bends | 1 | each |  | 0
| 5.5.2 | 250mm 11¼° Bends | 2 | each |  | 0
| 5.5.3 | 250mm 22.5° Bends | 2 | each |  | 0
| 5.5.4 | 250mm 33 3/4° Bends (22.5° + 11.25°) | 1 | each |  | 0
| 5.5.5 | 250mm 45° Bends | 6 | each |  | 0
| 5.5.6 | 250mm 90° Bends | 1 | each |  | 0
| 5.6 | Supply and Install Tees - Potable
| 5.6.1 | 250 x 250 | 1 | each |  | 0
| 5.7 | Disinfect Watermains - By Relevant Council - Provisional Item | 1 | each |  | 0
| 5.8 | Connect to Existing Watermains - By Relevant Council - Prov. Item |  |  |  | 0
| 5.8.1 | Pressure testing | 1 | each |  | 0

## ST 1,2 RES BOQ
LIMESTONE CR ROAD YEPPOON
STAGE 1 & 2 - OP WORKS
| BILL OF QUANTITIES |  | DATE |  | 2026-07-01 | Rev A
|  | Item | Qty. | Unit | Rate | Total
7 |  | WATER RETICULATION TO WESTERN SIDE OF ROUNDABOUT ON ROAD 1 - POTABLE |  |  | 0
| 7.1 | Supply, excavate, bed, lay, joint and backfill pipes (incl tape)
| 7.1.1 | DN63mm PE100 PN12.5 (Road 6) | 83 | m |  | 0
| 7.1.2 | 100mm Dia. PVC PN16 | 630 | m |  | 0
| 7.1.3 | 200mm Dia. PVC PN16 | 322 | m |  | 0
| 7.1.4 | 250mm Dia. PVC PN16 FROM EAST LOT 1706 TO WESTERN SIDE OF ROAD 1 ROUNDABOUT | 976 | m |  | 0
| 7.2 | Supply and Install Hydrants - Potable per CMDG-W060
| 7.2.1 | Tee To Suit 100mm Dia. | 9 | each |  | 0
| 7.2.2 | Tee To Suit 200mm Dia. | 3 | each |  | 0
| 7.2.3 | Tee To Suit 250mm Dia. | 13 | each |  | 0
| 7.2.4 | Temporary Ducksfoot Hydrant to suit 100mm (road 5 near lot 66, Road 3 near lot 71, road 2 near lot 80, road 3 near lot 125, Road 4 near lot 106) | 5 | each |  | 0
| 7.2.5 | Temporary Ducksfoot Hydrant to suit 200mm (near lot 81) | 1 | each |  | 0
| 7.3 | Supply and Install Stop Valves - Potable per CMDG-W060
| 7.3.1 | To Suit 100mm Dia. | 10 | each |  | 0
| 7.3.2 | To Suit 200mm Dia. | 5 | each |  | 0
| 7.3.3 | To Suit 250mm Dia. | 6 | each |  | 0
| 7.3.4 | Scour Valve to Suit 100mm Dia (including connection to Kerb Side Drainage Pit) per CMDG-W-080 | 1 | Item |  | 0
| 7.4 | Supply and Install Tees - Potable
| 7.4.1 | 100 x 200 | 1 | each |  | 0
| 7.4.2 | 100 x 250 | 2 | each |  | 0
| 7.4.3 | 200 x 200 | 1 | each |  | 0
| 7.4.4 | 250 x 250 | 4 | each |  | 0
| 7.5 | Supply and Install Reducers - Potable
| 7.5.1 | 100 x 200 | 1 | each |  | 0
| 7.5.2 | 100 x 250 | 3 | each |  | 0
| 7.5.3 | 100 x 200 | 1 | each |  | 0
| 7.5.4 | 200 x 250 | 1 | each |  | 0
| 7.6 | Supply and Install Bends including thrustblocks
| 7.6.1 | 100mm 6° Connector | 24 | each |  | 0
| 7.6.2 | 100mm 11¼° Bends | 3 | each |  | 0
| 7.6.3 | 100mm 45° Bends | 7 | each |  | 0
| 7.6.4 | 200mm 6° Connector | 7 | each |  | 0
| 7.6.5 | 200mm 11¼° Bends | 5 | each |  | 0
| 7.6.6 | 200mm 11¼° Bends (vertical) | 2 | Each |  | 0
| 7.6.7 | 200mm 45° Bends | 4 | each |  | 0
| 7.6.8 | 200mm 90° Bends | 1 | each |  | 0
| 7.6.9 | 250mm 6° Connector | 29 | each |  | 0
| 7.6.10 | 250mm 11¼° Bends | 5 | each |  | 0
| 7.6.11 | 250mm 22.5° Bends | 3 | each |  | 0
| 7.6.12 | 250mm 33 3/4° Bends (22.5° + 11.25°) | 3 | each |  | 0
| 7.6.13 | 250mm 45° Bends | 7 | each |  | 0
| 7.6.14 | 250mm 90° Bends | 2 | each |  | 0
| 7.7 | End Cap to suit 100mm Dia PVC Per CMDG-W-081
| 7.7.1 | End cap and thrust block for cul de sac (Road 6) | 1 | each |  | 0
| 7.8 | Elongated tapping Band & 63mm Poly End Connector (Road 6) - per CMDG-W-081
| 7.8.1 | Elongated tapping Band | 2 | each |  | 0
| 7.8.2 | 63mm Poly End Connector | 2 | each |  | 0
| 7.9 | House Services - Main Cock & Tapping including Maincock cover per CMDG-W-090
| 7.9.1 | Suit 63mm Potable main | 3 | each |  | 0
| 7.9.2 | Suit 100mm Potable main | 24 | each |  | 0
| 7.9.3 | Suit 200mm Potable main | 10 | each |  | 0
| 7.9.4 | Suit 250mm Potable main | 19 | each |  | 0
| 7.1 | Install Water Services including poly pipe and all fittings per CMDG-W-090
| 7.10.1 | Water Service Under Road Including Conduit | 24 | each |  | 0
| 7.10.2 | Water Service Short Side | 30 | each |  | 0
| 7.11 | Disinfect Watermains - By Relevant Council - Provisional Item | 1 | each |  | 0
| 7.12 | Connect to Existing Watermains - By Relevant Council - Prov. Item |  | each |  | 0
| 7.12.1 | Pressure testing | 1 | each |  | 0
8 |  | WATER RETICULATION FROM WESTERN SIDE ROUNDABOUT ROAD 1 TO MAIN COLLECTOR ROAD - POTABLE |  |  | 0
| 8.1 | Supply, excavate, bed, lay, joint and backfill pipes (incl tape)
| 8.1.1 | 100mm Dia. PVC PN16 | 38 | m |  | 0
| 8.1.2 | 250mm Dia. PVC PN16 | 400 | m |  | 0
| 8.2 | Supply and Install Hydrants - Potable
| 8.2.1 | Tee To Suit 250mm Dia. | 6 | each |  | 0
| 8.2.2 | Temporary Ducksfoot Hydrant to Suit 100mm Dia | 2 | each
| 8.3 | Supply and Install Stop Valves - Potable
| 8.3.1 | To Suit 100mm Dia. | 2 | each |  | 0
| 8.3.2 | To Suit 250mm Dia. | 2 | each |  | 0
| 8.4 | Supply and Install Tees - Potable
| 8.4.1 | 250 x 100 | 2
| 8.5 | Supply and Install Bends including thrustblocks
| 8.5.1 | 100mm 22.5° Bend | 1 | each |  | 0
| 8.5.2 | 100mm 45° Bend | 2 | each |  | 0
| 8.5.3 | 250mm 6° Connector | 11 | each |  | 0
| 8.6 | House Services - Main Cock & Tapping including Maincock cover
| 8.6.1 | Suit 250mm Potable main | 13 | each |  | 0
| 8.7 | Install Water Services including poly pipe and all fittings per CMDG-W-090
| 8.7.1 | Water Service Under Road Including Conduit | 3 | each |  | 0
| 8.7.2 | Water Service Short Side | 10 | each |  | 0
| 8.8 | Disinfect Watermains - By Relevant Council - Provisional Item | 1 | each |  | 0
9 |  | LEAD IN WATER RETICULATION (CONNECTION TO WATERMAIN IN ADELAIDE PARK RD) - PROVISION ITEM ONLY |  |  | 0
| 9.1 | Supply, excavate, bed, lay, joint and backfill pipes (incl tape)
| 9.1.1 | 250mm Dia. PVC PN16 | 402 | m |  | 0
| 9.2 | Supply and Install Hydrants - Potable
| 9.2.1 | To Suit 250mm Dia. | 7 | each |  | 0
| 9.2.2 | To suit 250 Dia | 7 | each |  | 0
| 9.3 | Supply and Install Stop Valves - Potable
| 9.3.1 | To Suit 250mm Dia. | 1 | each |  | 0
| 9.4 | Bends including thrustblocks
| 9.4.1 | 250mm 6° Bends | 8 | each |  | 0
| 9.4.2 | 250mm 11¼° Bends | 4 | each |  | 0
| 9.4.3 | 250mm 22½° Bends | 4 | each |  | 0
| 9.4.4 | 250mm 33 3/4° Bends | 2 | each |  | 0
| 9.4.5 | 250mm 45° Bends | 1 | each |  | 0
| 9.5 | Connect to Existing Watermains - By Relevant Council - Prov. Item
| 9.5.1 | Pressure testing | 1 | each |  | 0
| 9.5.2 | Connect to existing mains by Livingstone Shire Council | 1 | each |  | 0

## ST 3,4,5,6 RES BOQ
LIMESTONE CR ROAD YEPPOON
Stage 3, 4, 5 & 6 - OP WORKS
| BILL OF QUANTITIES |  | DATE |  | 2026-07-01 | REV A
|  | Item | Qty. | Unit | Rate | Total
7 |  | WATER RETICULATION - POTABLE |  |  | 0
| 7.1 | Supply, excavate, bed, lay, joint and backfill pipes (incl tape)
| 7.1.1 | DN63mm PE100 PN12.5 (Road 3) | 80 | m |  | 0
| 7.1.2 | DN63mm PE100 PN12.5 (Road 5) | 108 | m
| 7.1.3 | 100mm Dia. PVC PN16 | 693 | m |  | 0
| 7.2 | Supply and Install Hydrants - Potable per CMDG-W060
| 7.2.1 | Tee To Suit 100mm Dia. | 10 | each |  | 0
| 7.3 | Remove temporary Ducksfoot Hydrants - Potable
| 7.3.1 | Remopve and Dispose of 100mm Temporary Ducksfoot Hydrant to suit 100mm (road 5 near lot 66, Road 3 near lot 71, road 2 near lot 80, road 3 near lot 125, Road 4 near lot 106) | 5 | each
| 7.4 | Supply and Install Stop Valves - Potable per CMDG-W060
| 7.3.1 | To Suit 100mm Dia. | 3 | each |  | 0
| 7.4 | Supply and Install Tees - Potable
| 7.4.1 | 100 x 100 | 1 | each |  | 0
| 7.6 | Supply and Install Bends including thrustblocks
| 7.6.1 | 100mm 6° Connector | 43 | each |  | 0
| 7.6.2 | 100mm 11¼° Bends | 2 | each |  | 0
| 7.6.3 | 100mm 22.5° Bends | 1 | each |  | 0
| 7.6.4 | 100mm 45° Bends | 5 | each |  | 0
| 7.6.5 | 100mm 90° Bends | 1 | each |  | 0
| 7.7 | End Cap to suit 100mm Dia PVC Per CMDG-W-081
| 7.7.1 | End cap and thrust block for cul de sac (Road 3 & road 5) | 2 | each |  | 0
| 7.8 | Elongated tapping Band & 63mm Poly End Connector (Road 6) - per CMDG-W-081
| 7.8.1 | Elongated tapping Band | 4 | each |  | 0
| 7.8.2 | 63mm Poly End Connector | 4 | each |  | 0
| 7.9 | House Services - Main Cock & Tapping including Maincock cover per CMDG-W-090
| 7.9.1 | Suit 63mm Potable main | 4 | each |  | 0
| 7.9.1 | Suit 100mm Potable main | 24 | each |  | 0
| 7.1 | Install Water Services including poly pipe and all fittings per CMDG-W-090
| 7.10.1 | Water Service Under Road Including Conduit | 13 | each |  | 0
| 7.10.2 | Water Service Short Side | 11 | each |  | 0
| 7.11 | Disinfect Watermains - By Relevant Council - Provisional Item | 1 | each |  | 0
| 7.12 | Connect to Existing Watermains - By Relevant Council - Prov. Item |  | each |  | 0
| 7.12.1 | Pressure testing | 1 | each |  | 0

## stormwater pipe calcs (hidden)
Stage 1 & 2 | [33 empty] | Total
Road Drainage
900 | 13.554 | 13.554 | 40.08 | 40.08 | 5.937 | 4.69 | [27 empty] | 117.895
825 | 37.574 | [32 empty] | 37.574
750 | 9.183 | 10.71 | [31 empty] | 19.893
675 | 34.388 | [32 empty] | 34.388
600 | 65.484 | 16.377 | 29.983 | 27.612 | 50.76 | 24.759 | 19.669 | 20.383 | 15.699 | 13.27 | 24.975 | [22 empty] | 308.971
525 | 50.328 | 47.873 | 8.466 | 4.806 | 41.83 | 9.975 | 14.842 | 45.832 | 8.011 | 38.949 | 40.508 | [22 empty] | 311.42
450 | 36.277 | 13.487 | 41.977 | 43.163 | 28.615 | [28 empty] | 163.519
375 | 13.692 | 11.139 | 11.359 | 10.007 | 34.558 | 9.333 | 28.374 | 14.341 | 12.225 | 9.687 | 8.011 | 28.182 | 22.651 | 22.517 | 9.599 | 9.603 | 31.124 | 12.83 | 10.631 | 9.791 | 9.039 | 9.935 | 20.635 | 28.166 | 18.985 | 12.133 | 40.672 | 40.82 | 11.606 | 38.363 | 8.031 | 13.714 | 12.742 | 584.495
IAD
300 | 13.043 | 34.028 | 22.357 | 56.007 | 35.214 | 25 | 25.01 | 11.938 | 27.773 | [24 empty] | 250.37
225 | 9.897 | 8.824 | 43.426 | 4.072 | 27 | 6.659 | 7.377 | 26.976 | [25 empty] | 134.231
200 | 27.146 | 25.327 | 35.351 | 35.045 | [29 empty] | 122.869
150 | 23.144 | 46.863 | 31.318 | 25.005 | [29 empty] | 126.33
100 | 31.156 | [32 empty] | 31.156
Stage 3, 4, 5, 6
Road Drainage
900
825
750 | 88.332 | 50.214 | 13.211 | 30.077 | 14.417 | 14.417 | 41.867 | [26 empty] | 252.535
675
600 | 9.768 | 9.768 | 10.35 | 10.35 | 8.759 | 8.759 | 16.516 | 28.535 | 28.118 | 41.502 | 7.757 | 7.757 | 8.01 | 8.01 | [19 empty] | 203.959
525 | 44.729 | [32 empty] | 44.729
450 | 8.064 | 37.596 | 10.604 | 8.142 | 41.323 | 12.203 | 12.203 | 12.203 | 7.06 | 7.06 | 7.06 | 4.698 | 4.698 | 4.698 | [19 empty] | 177.612
375 | 62.41 | 10.225 | 7.962 | 45.098 | 19.937 | 8.137 | 12.88 | 8.032 | 21.536 | 44.601 | 28.324 | 8.115 | 9.603 | 56.758 | 50.26 | 7.658 | 15.921 | 39.47 | 8.871 | [14 empty] | 465.798
IAD
300 | 16.448 | 3.909 | 16.604 | 18.198 | [29 empty] | 55.159
225 | 6.513 | 39.913 | 22.452 | 18.342 | 20.518 | 26.607 | 20.88 | 17.294 | 7.056 | 34.636 | 9.031 | 3.226 | 18.679 | 21.242 | 24.117 | 25.471 | 9.388 | [16 empty] | 325.365
200 | 20.307 | 20.177 | [31 empty] | 40.484
150 | 20.257 | 25.069 | [31 empty] | 45.326
Trunk Road
750 | 17.342 | [32 empty] | 17.342
675 | 41.931 | 16.337 | [31 empty] | 58.268
375 | 23.687 | 11.131 | [31 empty] | 34.818